## Slide 1
Anna Nguru [anguru@uncc.edu], Tyler Henderson [thende24@uncc.edu], Alexandria Ungrady [aungrad1@uncc.edu], Lou Lee [llee61@uncc.edu], Kyle Tietz [ktietz@uncc.edu], Seth Martin [smart143@uncc.edu]
Faculty Mentor : Dr. Michael Smith | Project Supporters Charlotte-Douglas International Airport: Andy Williams, Randy Garrell, Chris Hazen
Baggage Handling Load Balancing and System Optimization
Senior Design I– Spring 2020
Introduction & Problem Statement
Design Solution
Project Deliverables / Specifications
Data Processing
Next Steps
The Charlotte Douglas Airport Facilities Maintenance team supports operation of the Checked Baggage Inspection System (CBIS)
Seek to optimize and implement improvements to the CBIS system by automating the vertical sorter between RC1 & RC2 baggage conveyor lines
Reduce baggage jams on RC1 & RC2
6 ft or more space between baggage on conveyors
PLC program to automate RC1 & RC2
All activities are subject to COVID-19 crisis.
Install, collect and analyze accurate baggage data
Process and interpret data to update arena model simulation created by CLT_LOAD
Design PLC program to reduce baggage jams on RC1 & RC2 conveyors
Develop, implement, and install baggage counters at specific locations
Collect and analyze data
Use gathered data
Fabrication/ Assembly
Data Analysis/ Interpretation
Arbitrary rough data simulation
Validation testing for prototype parts
Assume constant temperature, humidity, and power input
Temperature corrected and baggage timestamp data collected.
Sensor Enclosure
Arduino Uno
Ultrasonic Distance Sensor
SD Card Reader
Temperature Humidity Sensor
Real Clock Module
Baggage data analyzed from load schedule will determine the best load balancing algorithm which will be used to design the PLC program to reduce baggage jams
Simulation Data
Arena Model
PLC Program

## Slide 2
Anna Nguru [anguru@uncc.edu], Tyler Henderson [thende24@uncc.edu], Alexandria Ungrady [aungrad1@uncc.edu], Lou Lee [llee61@uncc.edu], Kyle Tietz [ktietz@uncc.edu], Seth Martin [smart143@uncc.edu]
Faculty Mentor : Dr. Michael Smith | Project Supporters Charlotte-Douglas International Airport: Andy Williams, Randy Garrell, Chris Hazen
Baggage Handling Load Balancing and System Optimization
Senior Design I– Spring 2020
Introduction & Problem Statement
Design Solution
Project Deliverables / Specifications
Data Processing
Next Steps
The Charlotte Douglas Airport Facilities Maintenance team supports operation of the Checked Baggage Inspection System (CBIS)
Seek to optimize and implement improvements to the CBIS system by automating the vertical sorter between RC1 & RC2 baggage conveyor lines
Reduce baggage jams on RC1 & RC2
6 ft or more space between baggage on conveyors
PLC program to automate RC1 & RC2
All activities are subject to COVID-19 crisis.
Install, collect and analyze accurate baggage data
Process and interpret data to update arena model simulation created by CLT_LOAD
Design PLC program to reduce baggage jams on RC1 & RC2 conveyors
Develop, implement, and install baggage counters at specific locations
Collect and analyze data
Use gathered data
Fabrication/ Assembly
Data Analysis/ Interpretation
Arbitrary rough data simulation
Validation testing for prototype parts
Assume constant temperature, humidity, and power input
Temperature corrected and baggage timestamp data collected.
Sensor Enclosure
Arduino Uno
Ultrasonic Distance Sensor
SD Card Reader
Temperature Humidity Sensor
Real Clock Module
Baggage data analyzed from load schedule will determine the best load balancing algorithm which will be used to design the PLC program to reduce baggage jams
Simulation Data
Arena Model
PLC Program

## Slide 3
Anna Nguru [anguru@uncc.edu], Tyler Henderson [thende24@uncc.edu], Alexandria Ungrady [aungrad1@uncc.edu], Lou Lee [llee61@uncc.edu], Kyle Tietz [ktietz@uncc.edu], Seth Martin [smart143@uncc.edu]
Faculty Mentor : Dr. Michael Smith | Project Supporters Charlotte-Douglas International Airport: Andy Williams, Randy Garrell, Chris Hazen
Baggage Handling Load Balancing and System Optimization
Senior Design I– Spring 2020
Introduction & Problem Statement
Design Solution
Project Deliverables / Specifications
Data Processing
Next Steps
The Charlotte Douglas Airport Facilities Maintenance team supports operation of the Checked Baggage Inspection System (CBIS)
Seek to optimize and implement improvements to the CBIS system by automating the vertical sorter between RC1 & RC2 baggage conveyor lines
Reduce baggage jams on RC1 & RC2
6 ft or more space between baggage on conveyors
PLC program to automate RC1 & RC2
All activities are subject to COVID-19 crisis.
Install, collect and analyze accurate baggage data
Process and interpret data to update arena model simulation created by CLT_LOAD
Design PLC program to reduce baggage jams on RC1 & RC2 conveyors
Develop, implement, and install baggage counters at specific locations
Collect and analyze data
Use gathered data
Fabrication/ Assembly
Data Analysis/ Interpretation
Arbitrary rough data simulation
Validation testing for prototype parts
Assume constant temperature, humidity, and power input
Temperature corrected and baggage timestamp data collected.
Sensor Enclosure
Arduino Uno
Ultrasonic Distance Sensor
SD Card Reader
Temperature Humidity Sensor
Real Clock Module
Baggage data analyzed from load schedule will determine the best load balancing algorithm which will be used to design the PLC program to reduce baggage jams
Simulation Data
Arena Model
PLC Program

## Slide 4
Anna Nguru [anguru@uncc.edu], Tyler Henderson [thende24@uncc.edu], Alexandria Ungrady [aungrad1@uncc.edu], Lou Lee [llee61@uncc.edu], Kyle Tietz [ktietz@uncc.edu], Seth Martin [smart143@uncc.edu]
Faculty Mentor : Dr. Michael Smith | Project Supporters Charlotte-Douglas International Airport: Andy Williams, Randy Garrell, Chris Hazen
Baggage Handling Load Balancing and System Optimization
Senior Design I– Spring 2020
Introduction & Problem Statement
Design Solution
Project Deliverables / Specifications
Data Processing
Next Steps
The Charlotte Douglas Airport Facilities Maintenance team supports operation of the Checked Baggage Inspection System (CBIS)
Seek to optimize and implement improvements to the CBIS system by automating the vertical sorter between RC1 & RC2 baggage conveyor lines
Reduce baggage jams on RC1 & RC2
6 ft or more space between baggage on conveyors
PLC program to automate RC1 & RC2
All activities are subject to COVID-19 crisis.
Install, collect and analyze accurate baggage data
Process and interpret data to update arena model simulation created by CLT_LOAD
Design PLC program to reduce baggage jams on RC1 & RC2 conveyors
Develop, implement, and install baggage counters at specific locations
Collect and analyze data
Use gathered data
Fabrication/ Assembly
Data Analysis/ Interpretation
Arbitrary rough data simulation
Validation testing for prototype parts
Assume constant temperature, humidity, and power input
Temperature corrected and baggage timestamp data collected.
Sensor Enclosure
Arduino Uno
Ultrasonic Distance Sensor
SD Card Reader
Temperature Humidity Sensor
Real Clock Module
Baggage data analyzed from load schedule will determine the best load balancing algorithm which will be used to design the PLC program to reduce baggage jams
Simulation Data
Arena Model
PLC Program

## Slide 5
Anna Nguru [anguru@uncc.edu], Tyler Henderson [thende24@uncc.edu], Alexandria Ungrady [aungrad1@uncc.edu], Lou Lee [llee61@uncc.edu], Kyle Tietz [ktietz@uncc.edu], Seth Martin [smart143@uncc.edu]
Faculty Mentor : Dr. Michael Smith | Project Supporters Charlotte-Douglas International Airport: Andy Williams, Randy Garrell, Chris Hazen
Baggage Handling Load Balancing and System Optimization
Senior Design I– Spring 2020
Introduction & Problem Statement
Design Solution
Project Deliverables / Specifications
Data Processing
Next Steps
The Charlotte Douglas Airport Facilities Maintenance team supports operation of the Checked Baggage Inspection System (CBIS)
Seek to optimize and implement improvements to the CBIS system by automating the vertical sorter between RC1 & RC2 baggage conveyor lines
Reduce baggage jams on RC1 & RC2
6 ft or more space between baggage on conveyors
PLC program to automate RC1 & RC2
All activities are subject to COVID-19 crisis.
Install, collect and analyze accurate baggage data
Process and interpret data to update arena model simulation created by CLT_LOAD
Design PLC program to reduce baggage jams on RC1 & RC2 conveyors
Develop, implement, and install baggage counters at specific locations
Collect and analyze data
Use gathered data
Fabrication/ Assembly
Data Analysis/ Interpretation
Arbitrary rough data simulation
Validation testing for prototype parts
Assume constant temperature, humidity, and power input
Temperature corrected and baggage timestamp data collected.
Sensor Enclosure
Arduino Uno
Ultrasonic Distance Sensor
SD Card Reader
Temperature Humidity Sensor
Real Clock Module
Baggage data analyzed from load schedule will determine the best load balancing algorithm which will be used to design the PLC program to reduce baggage jams
Simulation Data
Arena Model
PLC Program

## Slide 6
Anna Nguru [anguru@uncc.edu], Tyler Henderson [thende24@uncc.edu], Alexandria Ungrady [aungrad1@uncc.edu], Lou Lee [llee61@uncc.edu], Kyle Tietz [ktietz@uncc.edu], Seth Martin [smart143@uncc.edu]
Faculty Mentor : Dr. Michael Smith | Project Supporters Charlotte-Douglas International Airport: Andy Williams, Randy Garrell, Chris Hazen
Baggage Handling Load Balancing and System Optimization
Senior Design I– Spring 2020
Introduction & Problem Statement
Design Solution
Project Deliverables / Specifications
Data Processing
Next Steps
The Charlotte Douglas Airport Facilities Maintenance team supports operation of the Checked Baggage Inspection System (CBIS)
Seek to optimize and implement improvements to the CBIS system by automating the vertical sorter between RC1 & RC2 baggage conveyor lines
Reduce baggage jams on RC1 & RC2
6 ft or more space between baggage on conveyors
PLC program to automate RC1 & RC2
All activities are subject to COVID-19 crisis.
Install, collect and analyze accurate baggage data
Process and interpret data to update arena model simulation created by CLT_LOAD
Design PLC program to reduce baggage jams on RC1 & RC2 conveyors
Develop, implement, and install baggage counters at specific locations
Collect and analyze data
Use gathered data
Fabrication/ Assembly
Data Analysis/ Interpretation
Arbitrary rough data simulation
Validation testing for prototype parts
Assume constant temperature, humidity, and power input
Temperature corrected and baggage timestamp data collected.
Sensor Enclosure
Arduino Uno
Ultrasonic Distance Sensor
SD Card Reader
Temperature Humidity Sensor
Real Clock Module
Baggage data analyzed from load schedule will determine the best load balancing algorithm which will be used to design the PLC program to reduce baggage jams
Simulation Data
Arena Model
PLC Program

## Slide 7
Anna Nguru [anguru@uncc.edu], Tyler Henderson [thende24@uncc.edu], Alexandria Ungrady [aungrad1@uncc.edu], Lou Lee [llee61@uncc.edu], Kyle Tietz [ktietz@uncc.edu], Seth Martin [smart143@uncc.edu]
Faculty Mentor : Dr. Michael Smith | Project Supporters Charlotte-Douglas International Airport: Andy Williams, Randy Garrell, Chris Hazen
Baggage Handling Load Balancing and System Optimization
Senior Design I– Spring 2020
Introduction & Problem Statement
Design Solution
Project Deliverables / Specifications
Data Processing
Next Steps
The Charlotte Douglas Airport Facilities Maintenance team supports operation of the Checked Baggage Inspection System (CBIS)
Seek to optimize and implement improvements to the CBIS system by automating the vertical sorter between RC1 & RC2 baggage conveyor lines
Reduce baggage jams on RC1 & RC2
6 ft or more space between baggage on conveyors
PLC program to automate RC1 & RC2
All activities are subject to COVID-19 crisis.
Install, collect and analyze accurate baggage data
Process and interpret data to update arena model simulation created by CLT_LOAD
Design PLC program to reduce baggage jams on RC1 & RC2 conveyors
Develop, implement, and install baggage counters at specific locations
Collect and analyze data
Use gathered data
Fabrication/ Assembly
Data Analysis/ Interpretation
Arbitrary rough data simulation
Validation testing for prototype parts
Assume constant temperature, humidity, and power input
Temperature corrected and baggage timestamp data collected.
Sensor Enclosure
Arduino Uno
Ultrasonic Distance Sensor
SD Card Reader
Temperature Humidity Sensor
Real Clock Module
Baggage data analyzed from load schedule will determine the best load balancing algorithm which will be used to design the PLC program to reduce baggage jams
Simulation Data
Arena Model
PLC Program